## Table 1
Table 1. Interfaces for use the NIV in patients with COVID-19.
AUTHORS | COUNTRY | DESIGN/SETTING | POPULATION OF STUDY | INTERFACES RECOMMENDED | JUSTIFICATION FOR USE
Lucchini et al. (2020) [21] | Italy | Letter to Editor | COVID-19 | Helmet | Is suggested to improve patient’s comfort
Winck et al. (2020) [22] | Portugal and Italy | Clinical review | COVID-19, SARS, MERS, H1N1 | NIV through the helmet would be a safe option. As an alternative, a non-vented oronasal mask. | NM
Radovanovic et al. (2020) [23] | Italy | Clinical Consensus | COVID-19 | Helmet | Can represent an effective alternative to recruit sick alveolar units and improve hypoxemia.
Garcés et al. (2020) [24] | Spain | Letter to Editor | COVID-19 | Helmet | This interface compared with the oronasal interface, was associated with a reduction in mortality, stays in ICU and intubation rate.
Schünemann et al. (2020) [25] | Canada | Clinical Review | COVID-19, SARS and MERS | Helmet | This interface is at least as effective as masks in NIV.
Ferioli et al. (2020) [26] | Italy | Clinical Consensus | COVID-19 | Helmet with an inflatable neck cushion and mask oronasal as an alternative. | Allows lowest risk of aerosol dispersion.
Gómez et al. (2020) [11] | Spain | Clinical consensus | COVID-19 | Helmet use should be a priority. If not available, a full-face mask as a first alternative or, in the latter case, an oronasal mask. | NM
Lazzeri et al. (2020) [27] | Italy | Clinical consensus | COVID-19 | Preference use or helmet. | NM
Grieco et al. (2021) [28] | Italy | Randomized Clinical Trial | COVID-19 | Helmet | Treatment with helmet was associated with a significantly lower rate of endotracheal intubation and increased invasive ventilation.
Radovanovic et al. (2021) [29] | Italy | A rapid review | COVID-19 | Helmet and face mask | NIV (delivered by means of the Helmet or with face mask) have been widely employed to treat patients with COVID-19 pneumonia, with an acceptable tolerance and safety profile.
Raoof et al. (2020) [30] | USA | Clinical review | COVID-19 | Helmet | Helmets have been used commonly in Italy during the COVID pandemic with good results and there are very few data to prove that NIV, especially with a helmet mask, result in dispersion of viral particles.
SARS: severe acute respiratory syndrome; H1N1: influenza A; MERS: Middle East respiratory syndrome; ICU: intensive care unit; NM: not mentioned in the study; NIV: non-invasive ventilation; USA: United States of American.

## Table 2
Table 2. Circuits and filters for use the NIV in patients with COVID-19.
AUTHORS | COUNTRY | DESIGN/SETTING | POPULATION OF SUTDY | CIRCUITS AND FILTERS RECOMMENDED | JUSTIFICATION FOR USE
Winck et al. (2020) [22] | Portugal and Italy | Clinical review | COVID-19, SARS, MERS, H1N1 | Double branch circuit and a mask with an AF at the circuit’s expiratory valve. | NM
Garcés et al. (2020) [24] | Spain | Letter to Editor | COVID-19 | The use of an AF that adapts to the expiratory port of the tubing could be considered. | NM
Long et al. (2020) [31] | USA | Case reports | COVID-19 | AF must be used on the NIV mask before other devices. | NM
Righetti et al. (2020) [32] | Brazil | Clinical consensus | COVID-19 | Devices with a double circuit for ventilation are indicated. The HMEF between the face mask and the device and another HEPA at the ventilator exhalation outlet is indicated. | NM
Shaw et al (2020) [33] | USA | Letter to Editor | COVID-19 | Devices with a double circuit for ventilation are indicated. | NM
Gómez et al. (2020) [11] | Spain | Clinical consensus | COVID-19 | Double arm circuit and HEPA are recommended. Not recommend the use of HMEF. | NM
Pfeifer et al. (2020) [34] | Germany | Clinical consensus | COVID-19 | Dual-hose systems with virus deactivation filters in the expiratory tube. | Are safe and do not lead to increased aerosol formation.
Lazzeri et al. (2020) [27] | Italy | Clinical consensus | COVID-19 | In case of use of face mask, use double circuit with EV and AF. AF is highly recommended. | Filters should be positioned to limit the dispersion of the exhaled air.
Guan et al. (2020) [35] | China | Letter to Editor | COVID-19 | Add AF filter between the mask and the vent valve to reduce viral transmission. | NM
Raoof et al. (2020) [30] | USA | Clinical review | COVID-19 | HEPA | HEPA can be used to protect health-care providers.
Cavaglià et al. (2020) [36] | Italy | Clinical review | COVID-19 | Closed-loop NIV mechanical ventilation systems | The advantages of this system are minimizing aerosol generation, environmental contamination, oxygen consumption, and noise to the patient.
HMEF: heat and humidity exchanger filter; HEPA: high-efficiency filter for particle arrest; EV: expiratory valve; AF: Antimicrobial filters; SARS: severe acute respiratory syndrome; H1N1: influenza A; MERS: Middle East respiratory syndrome; NM: not mentioned in the study; NIV: non-invasive ventilation; USA: United States of American.

## Table 3
Table 3. Environmental cares for use the NIV in patients with COVID-19.
AUTHORS | COUNTRY | DESIGN/SETTING | POPULATION OF SUTDY | ENVIRONMENTAL CARES
Adir et al. (2020) [37] | Israel | Letter to Editor | COVID-19 | A negative pressure environment allows to administer NIV with minimal risk for HCW.
Long et al. (2020) [31] | USA | Case reports | COVID-19 | The type of mask on the patient is essential to reduce the transmission of the disease.
Shaw et al (2020) [33] | USA | Letter to Editor | COVID-19 | ICU isolation hood can provide a negative pressure environment to contain aerosols.
Ferioli et al. (2020) [26] | Italy | Clinical Consensus | COVID-19 | Negative pressure rooms with six exchange ratios per hour. Being aware of the exhalation distance of the various methods.
Lazzeri et al. (2020) [27] | Italy | Clinical consensus | COVID-19 | Filters should be positioned to limit the dispersion of the exhaled air.
Wilcox et al. (2020) [38] | USA | Letter to editor | COVID-19 | NIV is associated with a hard to quantify risk of AG, which may depend on the seal around a patient’s mask.
Torres-Castro et al. (2020) [39] | Chile | Letter to editor | COVID-19 | HCW should be aware of the exhalation distance, given the high risk of emitting of droplets and take the necessary precautions.
Guan et al. (2020) [35] | China | Letter to Editor | COVID-19 | Patient beds should be at least 1 m from one another, and the ward air circulation rate needs to be increased.
Peter et al. (2020) [40] | Australian | Guideline | COVID-19 | It is recommended that airborne precautions are utilized during PRI.
Crimi et al. (2020) [41] | Italy | Clinical Review | COVID-19, SARS, MERS, H1N1 | Dispersion of exhaled air is different depending on the type of PRI and interfaces.
Raoof et al. (2020) [30] | USA | Clinical review | COVID-19 | Negative-pressure rooms can be used to protect health-care providers.
AG: aerosol generation; SARS: severe acute respiratory syndrome; H1N1: influenza A; MERS: Middle East respiratory syndrome; ICU: intensive care unit; PRI: physiotherapy respiratory interventions; NM: not mentioned in the study; HCW: health care workers; NIV: non-invasive ventilation; USA: United States of America.

## Table 4
Table 4. Risk to staff and recommended PPE for use the NIV in patients with COVID-19.
AUTHORS | COUNTRY | DESIGN/SETTING | POPULATION OF STUDY | RISK TO STAFF | RECOMMENDED PPE DURING NIV
Lucchini et al. (2020) [21] | Italy | Letter to Editor | COVID-19 | The longer the treatment cycle, the lower the environmental dispersion and the risk for HCW. | NM
Arulkumaran et al. (2020) [42] | UK | Letter to Editor | COVID-19 | The risk of COVID-19 transmission to HCW is not negligible and they have been infected at work. | NM
Gómez et al. (2020) [11] | Spain | Clinical consensus | COVID-19 | HCW must wear PPE to prevent infection. | FFP2 mask; Goggles; Tie long hair in a ponytail and wear a surgical cap; Gloves; Long-sleeve fluid resistant isolation gowns.
Winck et al. (2020) [22] | Portugal and Italy | Clinical review | COVID-19 | NM | N95 masks, gowns hair covers, gloves, eyes and face shields, use of electric air purifying respirators.
Pavlov et al. (2020) [43] | USA | Clinical review | COVID-19 | NM | N95 masks and eye protection.
Pfeifer et al. (2020) [34] | Germany | Clinical consensus | COVID-19 | NIV can be performed without an increased risk of infection to staff if PPE is provided. | Goggles, an FFP2 or FFP3 mask, and a gown.
Radovanovic et al. (2020) [23] | Italy | Clinical consensus | COVID-19 | A precocious respiratory support with NIV should be avoided to limit the droplets’ air-dispersion and the HCW’ contamination. | NM
Schünemann et al. (2020) [25] | Canada | Clinical Review | COVID-19, SARS and MERS | It suggests in increased risk for transmission of coronaviruses with invasive procedures, such as intubation and NIV, but also that risk for transmission was difficult to quantify exactly. | PPE may reduce for some the risk for transmission during AGPs, but it will not abolish it.
Ñamendys-Silva; Cherit (2020) [14] | Mexico | Clinical consensus | COVID-19 | NIV is not recommended due to AG and the risk of viral spread among HCW. | NM
Righetti et al. (2020) [32] | Brazil | Clinical consensus | COVID-19 | NM | Surgical caps, safety glasses, face protection, N95 mask or equivalent, aprons and gloves, and face masks must be worn.
Ferioli et al. (2020) [26] | Italy | Clinical review | COVID-19 | The use of PPEs are effective in preventing infections among HCW. | NM
Arabi et al. (2020) [44] | Saudi Arabia | Clinical review | Adults witch SRVI | NM | N95 mask, gloves, gown and face/eye protection.
Lazzeri et al. (2020) [27] | Italy | Clinical consensus | COVID-19 | NM | It is highly recommended to the PPE available for the staff.
Franco et al. (2020) [45] | Italy | Observation study | COVID-19 | Despite using the recommended PPE, a 11.4% contamination rate was observed among HCW treating the infected patients. | NM
Guan et al. (2020) [35] | China | Letter to Editor | COVID-19 | NM | HCW should utilize PPE when providing respiratory support therapy.
Raoof et al. (2020) [30] | USA | Clinical review | COVID-19 | Proper PPE including N-95 masks be used to protect health-care providers. | PPE should be utilized, including N-95.
UK: United Kingdom; PPE: personal protective equipment; NR: no recommendations; NIV: noninvasive ventilation; HCW: health-care workers; FPP2: highly efficient Filter Face piece 2; AG: aerosol generation; SRVI: severe respiratory viral infection. NM: not mentioned in the study; USA: United States of America.